Short Communication:

An evaluation of alternative buffers for the transport and detection of Moraxella bovis and M. bovoculi on cotton wool swabs

Supplementary Material: Appendix A

Supplementary Table S1

Tenfold dilution series of Moraxella-spiked specimens for PCR validation tests

| Sample dilution | Agent detected | Unbuffered method | Buffer-1 |  | Buffer-3 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Conc.eq (CFU) |  | Conc.eq (CFU) |  | Conc.eq (CFU) |
| S2.01: |  |  |  |  |  |  |
| Undiluted | M. bovis | 105.8 |  | 105.4 |  | 105.5 |
| 10-1 | M. bovis | 104.6 |  | 104.2 |  | 104.4 |
| 10-2 | M. bovis | 103.7 |  | 103.0 |  | 103.4 |
| 10-3 | M. bovis | 102.8 |  | 102.1 |  | 102.0 |
| 10-4 | M. bovis | 101.7 |  | nd |  | 101.5 |
| S2.02: |  |  |  |  |  |  |
| Undiluted | M. bovoculi | 105.3 |  | 105.0 |  | 105.2 |
| 10-1 | M. bovoculi | 104.4 |  | 103.9 |  | 104.2 |
| 10-2 | M. bovoculi | 103.3 |  | 102.6 |  | 103.2 |
| 10-3 | M. bovoculi | 102.2 |  | 101.4 |  | 102.3 |
| 10-4 | M. bovoculi | 101.4 |  | nd |  | nd |
| nd = not detected, Conc.eq = Equivalent bacterial concentration (CFU) detected by PCR |  |  |  |  |  |  |