Occurrence, concentration, and risk assessment of selected pharmaceuticals in representative cropland soils and their underlying groundwater in Gauteng province, South Africa

Matome Peter Ngoetjana a, Eyob Habte Tesfamariam a*, Sally Brown b, Madelien Wooding c, Matthys Dippenaar d

a University of Pretoria, Department of Plant and Soil Science, Pretoria, South Africa

b University of Washington, School of Forest Resources, Seattle, USA

c University of Pretoria, Department of Chemistry, Pretoria, South Africa

d University of Pretoria, Department of Geology, Pretoria, South Africa

*Corresponding author

M.P. Ngoetjana

E-mail address: ngoetjanamp@gmail.com

ORCID: 0000-0003-4554-7037

E.H. Tesfamariam

E-mail address: eyob.tesfamariam@up.ac.za

ORCID: 0000-0003-0724-9864

S. Brown

E-mail address: slb@uw.edu

ORCID: 0000-0002-9405-571X

M. Wooding

E-mail address: madelien.wooding@up.ac.za

ORCID: 0000-0003-3869-7467

M. Dippenaar

E-mail address: matthys.dippenaar@up.ac.za

ORCID: 0000-0002-6807-1353

Supplementary Information:

Table S1 Physicochemical parameters of the target pharmaceuticals (Extracted from: https://go.drugbank.com/)

| Contaminant | Molar mass (g mol-1) | Water solubility (g L-1) | Log Kow | pKa |
| --- | --- | --- | --- | --- |
| CBZ | 236.27 | 0.02 | 2.77 | 13.9 |
| CBZ-EP | 252.27 | 0.08 | 1.97 | 15.9 |
| CBZ-DiOH | 270.28 | 0.1 | 2.00 | 12.8 |
| SMX | 253.28 | 0.61 | 0.89 | 5.6 |
| Ac-SMX | 295.31 | 0.3 | 1.20 | 5.9 |
| SMX-N1-Glu | 429.4 | 2.55 | 0.22 | 3.57 |
| CAF | 194.19 | 21.7 | 0.12 | 14.0 |

CAF means caffeine, CBZ means carbamazepine, CBZ-EP means carbamazepine-10,11-epoxide, CBZ-DiOH means carbamazepine diol, DCF means diclofenac, SMX means sulfamethoxazole, Ac-SMX means N4-acetylsulfamethoxazole, and SMX-N1-Glu means sulfamethoxazole-N1-glucuronide.

Table S2 Instrument parameters

| Compound | Ionization mode | Retention time (min) | Quantification ion (m/z) |
| --- | --- | --- | --- |
| CAF | Positive | 4.8 | 195.0880 |
| CBZ | Positive | 8.8 | 237.1035 |
| CBZ-EP | Positive | 7.5 | 253.0971 |
| CBZ-DiOH | Positive | 4.9 | 271.1096 |
| DCF | Positive | 6.4 | 215.0710 |
| SMX | Positive | 5.3 | 254.0595 |
| Ac-SMX | Positive | 6.3 | 296.0707 |
| SMX-N1-Glu | Positive | 4.4 | 254.0605 |

CAF means caffeine, CBZ means carbamazepine, CBZ-EP means carbamazepine-10,11-epoxide, CBZ-DiOH means carbamazepine diol, DCF means diclofenac, SMX means sulfamethoxazole, Ac-SMX means N4-acetylsulfamethoxazole, and SMX-N1-Glu means sulfamethoxazole-N1-glucuronide.

Table S3 Linearity of the calibration curve

|  | Linearity |  |  |  |
| --- | --- | --- | --- | --- |
| Target compounds | Range (ng mL-1) | Calibration level | Regression equation | R2 |
| CAF | 1 – 5000 | 6 | y = 1.09231x + 0.0618 | 0.991 |
| CBZ | 1 – 5000 | 6 | y = 10592.7x - 69.5151 | 0.989 |
| DCF | 1 – 5000 | 6 | y = 3216.31x - 28.1044 | 0.991 |
| SMX | 1 – 5000 | 6 | y = 1.20676x - 0.0136747 | 0.993 |
| SMX-N1-Glu | 1 – 5000 | 6 | y = 1459.13x - 18.068 | 0.994 |
| Ac-SMX | 1 – 5000 | 6 | y = 25.9956x + 0.397317 | 0.977 |
| CBZ-EP | 1 – 5000 | 6 | y = 1049.79x - 7.25038 | 0.993 |
| CBZ-DiOH | 1 – 5000 | 6 | y = 109.529x - 0.736874 | 0.993 |

CAF means caffeine, CBZ means carbamazepine, CBZ-EP means carbamazepine-10,11-epoxide, CBZ-DiOH means carbamazepine diol, DCF means diclofenac, SMX means sulfamethoxazole, Ac-SMX means N4-acetylsulfamethoxazole, and SMX-N1-Glu means sulfamethoxazole-N1-glucuronide.

Table S4 Limit of detections (LODs), limit of quantifications (LOQs), percentage recoveries (%), and relative standard deviation (RSD) for the soil samples (n=3)

| Compound | LODs (ng g-1) | LOQs (ng g-1) | Recovery (%); RSD (%) |
| --- | --- | --- | --- |
| CAF | 0.02 | 0.05 | 99.8; 15 a |
| CBZ | 0.62 | 2.10 | 115; 8 b |
| DCF | 6.40 | 21.00 | 60.5; 33 b |
| SMX | 1.00 | 3.90 | 115; 10 a |
| SMX-N1-Glu | 2.00 | 6.60 | 112; 18 b |
| Ac-SMX | 1.00 | 3.40 | 96.8; 5 b |
| CBZ-EP | 0.31 | 1.00 | 62;12 b |
| CBZ-DiOH | 3.10 | 10.00 | 70.1; 6 b |

a Percentage recovery (%) from concentrations calculated from an internal standard calibration curve. b Percentage recovery (%) from concentrations calculated from an external calibration curve. CAF means caffeine, CBZ means carbamazepine, CBZ-EP means carbamazepine-10,11-epoxide, CBZ-DiOH means carbamazepine diol, DCF means diclofenac, SMX means sulfamethoxazole, Ac-SMX means N4-acetylsulfamethoxazole, and SMX-N1-Glu means sulfamethoxazole-N1-glucuronide.

Table S5 Limit of detections (LODs), limit of quantifications (LOQs), percentage recoveries (%), and relative standard deviation (RSD) for water samples (n=3)

| Compound | LODs (ng L-1) | LOQs (ng L-1) | Recovery (%); RSD (%) |
| --- | --- | --- | --- |
| CAF | 0.03 | 0.10 | 100; 6 a |
| CBZ | 1.25 | 4.15 | 90.1; 12 |
| DCF | 12.85 | 42.83 | 95.4; 16 |
| SMX | 2.03 | 6.77 | 102; 10 a |
| SMX-N1-Glu | 3.99 | 13.30 | 111;12 |
| Ac-SMX | 2.04 | 6.81 | 95.9; 8 |
| CBZ-EP | 0.61 | 2.04 | 79.2; 5 |
| CBZ-DiOH | 6.16 | 20.53 | 80.1; 10 |

a Percentage recovery (%) from concentrations calculated from an internal standard calibration curve. b Percentage recovery (%) from concentrations calculated from an external calibration curve CAF means caffeine, CBZ means carbamazepine, CBZ-EP means carbamazepine-10,11-epoxide, CBZ-DiOH means carbamazepine diol, DCF means diclofenac, SMX means sulfamethoxazole, Ac-SMX means N4-acetylsulfamethoxazole, and SMX-N1-Glu means sulfamethoxazole-N1-glucuronide.

Fig. S1 Concentration levels of carbamazepine-10,11-epoxide in commercial inorganic fertilizers